## Slide 1: Grid Enhancing Technology Policy Options and Technical Considerations in Nevada
Julia Selker
Executive Director, WATT Coalition
jselker@gridstrategiesllc.com

## Slide 2: Agenda
1. Background on ATTs technologies and value
2. Policy context – federal and state
3. Applied DLR

## Slide 3: What are Advanced Transmission Technologies?
Grid Enhancing Technologies (GETs)
High Performance Conductors (HPCs)
Advanced Transmission Technologies (ATTs) are technologies that can cost-effectively increase the capacity, efficiency, reliability and/or safety of power lines faster than traditional grid infrastructure and at lower cost or with higher net benefits.
There are two types of ATTs…
Dynamic Line Ratings
Advanced Power Flow Control
Topology Optimization
Carbon Core Conductors
Superconductors

## Slide 4
Large load!
Grid Enhancing Technologies:

## Slide 5: Benefits of Grid Enhancing Technologies (GETs) and High Performance Conductors (HPCs)
GETs can decrease congestion costs by up to 50%, at relatively low cost.
HPCs can double transmission capacity at approximately half the cost of building a new line.
GETs can double the capacity of new generation integrated into the existing transmission grid in months.
HPCs can use existing rights-of-ways, reducing permitting and construction times.
GETs can give operators new tools to manage reliability by unlocking the grid’s dynamic capabilities.
HPCs can decrease wildfire risk by reducing line sagging compared to traditional conductors.
6 Key Benefits
Lower Land Impacts
Cost
Savings
Greater Efficiency
Increased Capacity
Fast Upgrades
Resilience & reliability
GETs can defer the need for construction of new transmission infrastructure.
HPCs can expand transmission capacity using existing rights-of-way.
GETs can increase the utilization of high-voltage 345kV lines by 15-22%.
HPCs reduce energy losses by at least 20% for Composite / Carbon Core Conductors, and up to 80% for superconductors
GETs can increase the power transfer capacity of existing transmission lines by 20%+ on average.
HPCs such as Composite / Carbon Core Conductors double transmission capacity, while superconductors can quintuple capacity.

## Slide 6: Policy context

## Slide 7: Recommendations from the Nevada Regional Transmission Coordination Task Force in 2024
Nevada policymakers, including the PUCN, should provide oversight for Nevada utilities’ implementation of FERC Orders 1920 and 2023.
Nevada should support policies that result in greater use of GETs and advanced conductors as a means of increasing capacity on the existing transmission system.
Note that participation in organized wholesale markets may also better illuminate the value of ATTs (e.g. the cost of grid constraints becoming transparently priced as “congestion”).

## Slide 8: FERC Policies for Advanced Transmission Tech
Order No. 881
December 2021
Line Ratings:
Mandates that RTOs accept DLR and that utilities use temperature-adjusted ratings.
Order No. 2023
July 2023
Generator Interconnection:
Requires the consideration of APFC and HPCs in generator interconnection. TTO and DLR are optional.
Order No. 1920
May 2024
Transmission Planning:
Requires APFC, DLR, HPCs and transmission switching (best identified with TTO) to be considered in regional plans and deployed if they would make assets more cost effective. Also includes a “right-sizing” requirement.
Show-Cause Orders
June 2026
ATTs Modeling
Requires RTOs to prove that they use models that can represent ATTs, and that ATTs are considered as solutions for load interconnection.

## Slide 9: $1.9 billion in matching grants from DOE soon!
Speed to Power through Accelerated Reconductoring and other Key Advanced Transmission Technology Upgrades (SPARK)

## Slide 10: 23 states have passed ATTs laws as of July 2026
Affordability: Transmission congestion and rising power prices
Load growth: Bipartisan interest in “speed-to-power” for data centers and advanced manufacturing
Accelerating federal impact: FERC Order Nos. 881, 2023, 1920, and open rulemaking on DLR are all moving slower than state policy
Policy momentum driven by:

## Slide 11: Dynamic Line Ratings in the desert? Average capacity increases of 10-30%+

## Slide 12
Source: Conductor Rating Considerations for AAR, Joe Coffey, Presented in 2024 IEEE PES General Meeting May 2024

## Slide 13: DLR results from two lines in the same month
Chart: JUNI-CUMB Emergency Rating - January 2023
Chart: SUSQ-HARW #1 Emergency Rating - January 2023
PPL, Presented to the WATT Coalition, May 2024

## Slide 14
TMS Operator Display
Rating Zone if DLR goes down
Current line loading
Current real-time ratings
Various DLR indication, validation, and quality points for situational awareness
PPL, Presented to the WATT Coalition, May 2024

## Slide 15: Thank you!
Questions and discussion welcome
Julia Selker
jselker@gridstrategiesllc.com

## Slide 16: Appendix of random slides about GETs

## Slide 17: Today’s grid has untapped capacity
Large load!

## Slide 18: Advanced Power Flow Control Georgia Power and PG&E find 100MW+ each
+ 1800 MW

## Slide 19: Transmission Topology Optimization SPP released 845 MW of stranded generation

## Slide 20: Conductor technology has evolved beyond traditional ACSR/ACSS to “High Performance Conductors” (HPCs)
Additional Capacity
(Compared to ACSR)
Efficiency
(Compared to ACSR)
Line sag
Thermal sag
150-200%
2-20%
Thermal sag
150-300%
20-40%
10% thermal sag
500-1,000%
50-80%
No thermal sag
ACSR
HPCs (Carbon/composite core and superconductors)
ACSS (RW/TW)
Evolution of conductors
Trapezoidal aluminum conductors
Galvanized steel core
Thermal “Superinsulation”
Outer cryostat wall
HTS tape

## Slide 21: Federal policies: Advanced Transmission Technologies (ATTs)
Org.
Action
Federal Power Act Section 219(b)3 (2005)
LPO, IIJA, and IRA funding
Order No. 2023 (2023)
Order No. 1920 (2024)
Order No. 881 (2021)
Description
Requires FERC to institute incentives (yet to be implemented)
SPARK = $1.9 B in matching funds
Requires ATTs consideration in planning
Requires ATTs consideration in gen interconnection (DLR optional)
Requires Ambient Adjusted Ratings
Show Cause Orders
RTOs must study ATTs proactively

## Slide 22
NewGrid presentation to FERC
Reduce grid congestion by 40%+
2x interconnection

## Slide 23
GETs deploy in months
For cheap!
1/20-1/200th the cost
NEMA 2024, continues for 2 more pages
Notes: As you are on this rollercoaster – deploy GETs!

## Slide 24
Benefits of GETs:
Monitoring and control supp0rt resilience and reliability.

## Slide 25: Barriers to adoption of GETs and HPCs sustain inertia
Utility lack of experience and tools, and too much work
Misaligned incentives
Understanding benefits & costs